## Slide 1
A new
ultracold neutron source
at TRIGA Mainz
Hollering Alexander
15.4.2016

## Slide 2: Outline
TRIGA Mainz
Setup of the source at TRIGA Mainz
First measurements
3.1) Time of flight
3.2) Storage experiment
4) Conclusion and Outlook

## Slide 3
1) TRIGA Mainz
http://www.kernchemie.uni-mainz.de/719.php
Operation modes:
Steady state (0-100 kW)
Max. neutron flux:
Pulse mode 250 MW,
30 ms (FWHM)
Max. neutron flux:
Both measured at central
irradiation pipes

## Slide 4
2) Setup
Ca. 1200 mm

## Slide 5
2) Setup
3700 mm
Ca. 1200 mm
Solid crystal
9 mol ortho-
500 mm
2500 mm
Thermal bridge, wall thickness 0.6 mm
80 mm
Inner surface coated with NiMo

## Slide 6
2) Setup
Ca. 1200 mm
2500 mm
500 mm
He-
Liquifier
14 l/h
Storage tank

## Slide 7
2) Setup

## Slide 8
2) Setup
Cernox temperature sensors

## Slide 9
2) Setup
Heating coil
Thermal bridge
Thermal shield

## Slide 10
2) Setup
Supermirror neutron guides coated with NiMo-Ti (m=1.5)
Spacer between guide and stainless steel
Polyether ether ketone (PEEK)
PEEK
Neutron
guide

## Slide 11
2) Setup
Pressure sensor
Deuterium line
Aluminium window
Helium
lines

## Slide 12
2) Setup

## Slide 13
3.1) Time of flight
3.1.1) Behind 45° bend (100 kW)
Source
3) First measurements
45° bend
Chopper
2 m flight path
Cascade-U
detector

## Slide 14
3.2) Time of flight
Chopper
Settings for Measurement:
12 ms opening
4/3 Hz
Titanium grating with gadolinium absorber

## Slide 15
3.1.1) Behind 45° bend

## Slide 16
3.1) Time of flight
3.1.2) In direct beam (50 kW)
Source
VAT shutter
Chopper
2 m flight path
Detector

## Slide 17
3.1.2) In direct beam

## Slide 18
3) First measurements
3.2) Calculation of neutron fluxes (from TOF)
3.2.2) In direct beam (approx. to 100 kW)
Approximately VCN - CN
3.2.1) Behind 45°-bend (100 kW)
Approximately UCN - VCN
Correction due to Chopper opening
Correction of detector efficiency
Dividing by surface of open Chopper

## Slide 19
3) First measurements
3.3) Storage measurement
View from top

## Slide 20
3.3) Storage
3.3.1) Steady state power (100 KW)

## Slide 21
3.3) Storage
3.3.2) Pulse mode filling curve (1.25 $)
Dependency of puls strenght and lenght
Filling curve for 1.25$ puls

## Slide 22
3.1) Storage
3.3.2) Pulse mode (1,25 $)

## Slide 23
3.1) Storage
3.3.3) Explanation
Some parts broke during experiment
Measurements need to be repeated!

## Slide 24
4) Conclusion and Outlook
Characterisation of the source by Bernhard Lauss (PSI)
Improvement of radiation shielding round beam exit required
Repetition of storage experiment required
(in steady state and pulse mode)
1.5 hours for cooldown (~12 l)
Accurate working cooling system
Consumption of UCN source is approx. 8 l/h
Production of helium liquifier (14 l/h)
Production of UCN is proved

## Slide 25
Tobias Reich
Norbert Trautmann
Christopher Geppert
Klaus Eberhardt
Yury Sobolev
Operators of TRIGA Mainz
…
Financed by SPP 1491
Stephan Paul
Andreas Frei
Thorsten Lauer
Thorsten Zechlau
Yuri Schroffenegger
Workshop and technicians
…

## Slide 26: Thank you for your attention!

## Slide 27
Appendix

## Slide 28
Appendix
Transformation to velocity spectrum

## Slide 29
Appendix

## Slide 30
Appendix

## Slide 31
Appendix

## Slide 32
First cooling down
2) Setup

## Slide 33
Appendix