## Slide 2
Outline
Principle of measurement
  The physics
  aSPECT
Beam time 2013 – towards it and beyond
  Overview
  Systematics
  Ideogram of a values
    First hand corrections of systematics
Outlook

## Slide 3
Motivation
β-decay of the neutron
Correlation coefficients, e.g.
Lifetime
Principle of measurement
Beamtime 2013
Outlook
The physics
aSPECT
Notes: Unique system, no corrections for daughter particle, system is overdetermined

## Slide 4
Proton spectrum
β-υ angular correlation coeff. a
Proton
recoil depends on angle and ν
energy selection via retardation voltage
detection with SDD sensor
The physics
aSPECT
Principle of measurement
Beamtime 2013
Outlook
Notes: beta decay of free neutrons, various parameters, we take a; a is linked to lambda; depending on angle between e and nu => shift in spektrum

## Slide 5
Our goal
For more details on aSPECT
O. Zimmer et al., NIM A 440 (2000) 440
F. Glück et al., EPJ A 23 (2005) 135
S. Baeßler et al., EPJ A 38 (2008) 17
M. Simson et al., NIM A 611 (2009) 203
G. Konrad et al., Nucl. Phys. A 827 (2009) 529c
aSPECT
aSPECT - principle
Current value of a (PDG 2014)
MAC-E type spectrometer
Measures integral spectrum of protons
r
z
Proton momentum
The physics
aSPECT
Principle of measurement
Beamtime 2013
Outlook

## Slide 6
aSPECT – determine a
Pulseheight Spectrum
Proton Spectrum
proton
region
noise
electron region
Principle of measurement
Beamtime 2013
Outlook
The physics
aSPECT

## Slide 7
Beamtime 2013
100 days of beamtime @ ILL
40 days of pure data taking (including sys. tests)
  Initial tuning
  Investigations of the systematics
  Statistic runs for a
Various support measurements: magnetic field, beam profile, ...
~ 1,3 % statistical error per day and detector pad
Overview
Systematics
Ideogram of a values
Systematic investigations with full statistic
2 different DAQs
2 different beam profiles
Various background conditions
No severe systematics observed so far!
Principle of measurement
Beamtime 2013
Outlook
Notes: Two improved DAQs, no run-away discharges, very good statistics=> systematics are main problem

## Slide 8
Beamtime 2013
Leading systematic uncertainties
DAQ efficiency
Transmission-Function
Background
Cuts on proton region
Edge effect
Fields inside the DV electrode
For more details, see
R. Muñoz-Horta, PhD thesis, Mainz 2011
M. Simson, PhD thesis, TUM 2010
M. Borg, PhD thesis, Mainz 2011
G. Konrad, PhD thesis, Mainz 2011
F. Ayala Guardia, PhD thesis, Mainz 2011
R. Maisonobe, PhD thesis, ILL 2014
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram of a values
Notes: due to time reasons only selected systematics

## Slide 9
DAQ efficiency
The problem:
A saturation of the DAQ electronics caused a loss of energy (and events!) after high energy pulses:
TOF dependent
=> retardation voltage dependent
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: DAQ efficiency
Ideogram of a values
The solution:
reduced amplification of pre-amplifier
a shaper with logarithmic amplification

## Slide 10
Transmission-Function
Transmission-Function
Magnetic field ratio rB
Potential difference UA
Conservative estimation:
Measured with NMR:
PRELIMINARY
PRELIMINARY
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmisson Func
Ideogram of a values

## Slide 11
Transmission-Function
Larmor frequency
Decay Volume
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmisson Func
Ideogram of a values
Analysing Plane

## Slide 12
Background investigation
Sources of background:
External (cosmic, γ‘s from neutron hall, ...)
Intrinsic from spectrometer (ionised residual gas, ...)
Beam related (low E electrons, γ‘s)
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Background
Ideogram of a values

## Slide 13
Background investigation
Background model
PRELIMINARY
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Background
Ideogram of a values

## Slide 14
Cuts on proton region
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Pile-Up
Ideogram of a values
ΔT
upper Cut on proton region
lower Cut on proton region
t.b.d. by SRIM simulation
ΔT
PRELIMINARY

## Slide 15
Ideogram of a values
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram of a values
PRELIMINARY
diff. edge effect, bckg
enhanced edge effect
proton trapping in DV
„new“ DAQ
„standard“
a - uncorrected
(error scaled by 1.9)
PRELIMINARY
ON
OFF
mirror
Notes: !! error bars shown are CORRELATED ones !! uncorrelated ones are drawn in y direction
Already included: Pulseheight correction, energy calibration, linear background model.
Not included: edge effect, U_A correction, final error propagation

## Slide 16
Edge Effect and detector position
What it is?
p dependent detection of the decay protons onto the detector. Shifts a in the order of a few %!
copper
foil
8 cm
5 cm
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram: First corrections
How to solve it.
enhance the effect experimentally,
determine it with particle tracking simulations.
Notes: edge effect p_r dependent procetion of the source onto detector. Our source=neutron beam; if flat everything would be fine, but its not => measure beam profile in DV with activated copper foil, add. determine with activated copper wire area in beam profile, which is projected onto detector and also detector orientation

## Slide 17
Ideogram of a values
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram of a values
PRELIMINARY
ON
OFF
diff. edge effect, bckg
enhanced edge effect - corrected
proton trapping in DV
„new“ DAQ
„standard“
mirror
Notes: !! error bars shown are CORRELATED ones !! uncorrelated ones are drawn in y direction
Already included: Pulseheight correction, energy calibration, linear background model.
Not included: edge effect, U_A correction, final error propagation

## Slide 18
B- and E-fields in the DV
DV
electrode
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram: First corrections
Proton reflection due to field gradients
magnetic mirror due to B-field
retardation potential due to E-field
change of phase-space leaving the DV

## Slide 19
Ideogram of a values – with first corrections
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram: First corrections
PRELIMINARY
diff. edge effect, bckg
enhanced edge effect - corrected
proton trapping in DV
„new“ DAQ
„standard“
a – first corrections
PRELIMINARY
a - PDG 2014
ON
OFF - corrected
mirror
Notes: !! error bars shown are CORRELATED ones !! uncorrelated ones are drawn in y direction
Already included: Pulseheight correction, energy calibration, linear background model.
Not included: edge effect, U_A correction, final error propagation

## Slide 20
Outlook
In 2016:
  Finalize investigation of systematic effects:
    DAQ effects
    magnetic field ratio rB
    background
    upper cut on proton region (pile-up)
    retardation voltage UA
    edge effect
    fields in DV
    lower cut on proton region
    minor effects
  Combine everything for final a value and uncertainty
Principle of measurement
Beamtime 2013
Outlook

## Slide 21
The aTEAM

## Slide 22
Backup slides
The aTEAM

## Slide 23
Edge Effect – FIRST correction

## Slide 24
Saturation 2008
Solution 2011:
Reduce amplification of Preamplifier
New designed shaper with log. amplification for large signals
Second DAQ system with FlashADC and software shaping
new shaper card with log. amplification
Proton spectrum
(shaper)
counts
noise
energy in a.u.
electron region
proton region
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Saturation 2008
Distribution of a values

## Slide 25
Dependency of lower/upper cut
< 0,8%
< 0,8%
noise
protons
2008
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Saturation 2008
Distribution of a values

## Slide 26
Offline tests of DAQ electronics
Pulse generator:
variable e- pulse
variable p+ pulse
variable time difference
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Saturation 2008
Distribution of a values

## Slide 27
Offline tests of DAQ electronics
Energy calibration:
133Ba source
Cu holder
stainles steel holder
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Saturation 2008
Distribution of a values

## Slide 28
Background 2011
Problem in 2011:
Strong discharges in the time scale of a measurement cycle!
Strong, chaotic background
Could not be solved during beam time
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Background
Distribution of a values

## Slide 29
Background 2012/3
Improvements for 2012/3
Improved cleaning
Installed add. turbo pumps
Improved vacuum
New internal collimation
Replaced corroded parts
Smoothed edges of electrode system
Recoated electrode system
New dipole-electrode above AP as ExB
no more discharges!
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Background
Distribution of a values

## Slide 30
Background 2013
PRELIMINARY
PRELIMINARY
Background investigations:
Still ongoing, but looks promising.
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Background
Distribution of a values

## Slide 31
Background investigation
AP dependence
Background model
PRELIMINARY
PRELIMINARY
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Background
Ideogram of a values

## Slide 32
Pulseshape analysis
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Pulseshape
Distribution of a values
Differences in the shape?
different shapes of pulses are visible
no better discrimination than cut on pulseheight
shape is mainly determineg by shaper

## Slide 33
Edge Effect and detector position
copper
wire
Edge effect
Detector position from measurement
Beam profile from measurement
Simulation to correct (few %) for edge effect
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Edge Effect
Distribution of a values

## Slide 34
Pulseheight correction
Due to pile-up events can be asigned the wrong pulseheight
Solved by a spline fit to the pulse. Allows to determine:
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Pulseheight corr.
Distribution of a values

## Slide 35
Magnetic field measurement
Magnetic field ratio rB
Two methods to measure
Hall probe
  Wide field range 0-3 T
  Not precise enough >10-3
Nuclear Magnetic Resonance
  Narrow field range few mT
  Extreme precise 10-7
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmission-Func.
Distribution of a values
Notes: 10^-7 are the bad end for NMR, experts get it easily some orders of magnitude better

## Slide 36
Nuclear Magnetic Resonance
NMR measurements
Larmor frequency
Measurement of B at DV/AP in beam place after beam time
Test of different influences, like detector, shutter, ramping of magnet
☺
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmission-Func.
Distribution of a values
PRELIMINARY

## Slide 37
Potential difference UA
Potential difference UA
Solution(?)
Precision power supply
Precision DMM to measure voltage between DV and AP
So what is the problem?
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmission-Func.
Distribution of a values

## Slide 38
Work function
Potential applied to electrode…
…is modified by the work function!
WF measurement of DV at air
RMS (average)
of all electrodes: 19 mV
between electrodes: 35 mV
PRELIMINARY
E.g. gold
Various 5-5,5 eV
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmission-Func.
Distribution of a values
Notes: Surface contact potential, modified by water or similar

## Slide 39
Field leakage
WF difference between materials
Stainless steel and gold have difference in WF in the order of 1 V
=> Field leakage into DV up to 30 mV
PRELIMINARY
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics: Transmission-Func.
Distribution of a values
Notes: Field leakage from bore tube, internal collimation (made conductive to avoid charge up)

## Slide 40
Work function measurements
www.kptechnology.com

## Slide 41
Kelvin Probe

## Slide 42
Decay Volume

## Slide 43
Analysing Plane

## Slide 44
B- and E-fields in the DV
Decay Volume
Principle of measurement
Beamtime 2013
Outlook
Overview
Systematics
Ideogram: First corrections
Proton reflection due to field gradients
fields modify phase space of protons leaving the DV
calculate kin. energy of protons along z for reflections
reflected by B-field towards AP
reflected by E-field towards mirror

## Slide 45
Offline tests of DAQ electronics