## Slide 1
Towards High-Precision Spectroscopy
of the 1S–2S Transition in He+
Akira Ozawa
Fabian Schmid
Jorge Moreno
Johannes Weitenberg
Theodor. W. Hänsch
Thomas Udem
PREN2022, Paris
22, June 2022
Max Planck Institute of Quantum Optics, Germany
MAX PLANCK INSTITUTE OF QUANTUM OPTICS

## Slide 2
Spectroscopy of the 1S–2S Transition in He+
Trapped and cooled target  smaller systematics
QED test for Z=2 system
Frequency comb spectroscopy in XUV (extreme ultraviolet) wavelength
Difference from Hydrogen spectroscopy:
2 x 60.8 nm
1S
2S
2P
Γ ≈ 2π × 84 Hz
He++

## Slide 3
QED for He+
Parameters | Contribution to Uncertainty (He+ 1S2S)
 | 1.9x10-12 (19 kHz )
 | 6x10-12 (61 kHz)
 | 5x10-15 (45 Hz)
 | 2x10-14 (166 Hz)
m-He spectroscopy
J. Krauth et al. Nature (2021)
Mass ratio measurements
in Penning trap
Atomic recoil (atom interferometer)
g-2 measurement
Hydrogen spectroscopy
m-H + H (1s-2s), CODATA2018
State energy in
SI units (m-1)
Rydberg
constant
Fine structure constant
Nucleus/electron mass ratio
Normalized nuclear charge radius
Rydberg constant
Nuclear charge radius
Fine structure constant
Nucleus/electron mass

## Slide 4
Uncertainty due to QED theory for He+ 1S-2S transition
[1] Physics Letters B 795, 432–437 (2019)
[2] Phys. Rev. A 100, 032515 (2019).
[3] Phys. Rev. A 98, 022522 (2018)
[4] Physics Letters B 800, 135137 (2020).
[5] Annalen der Physik 531, 1800324 (2019).
[6] Phys. Rev. A 94, 060501 (2016).
[7] Phys. Rev. A 93, 062514 (2016).
Four loop (photon) corrections S. Laporta [4]
Total QED uncertainty : 40 kHz = 4x10-12 (preliminary)
Karshenboim, S. G et al. [1,2,3]
V. Yerokhin et al. [5]
A.Czarnecki st al. [6]
Karshenboim, S. G et al. [1,2]
<30 kHz
~ 0 kHz
<10 kHz
Yerokhin. A and Shabaev V. M [7]
< 40 kHz (4x10-12 )
Contribution | Uncertainty (in kHz)
Relativistic Recoil | 11
Nuclear Polarizability | 3
Self Energy | 0
Vacuum Polarization | 1
Two Photon Corrections | 111
Three Photon Corrections | 28
Nuclear Size Correction to Self Energy | 0
Nuclear Size Correction to Vacuum Polarization | 0
Radiative Recoil | 9
Nuclear Self Energy | 0.6
Total | 116 kHz (1x10-11)
CODATA 2014
Recent improvements
(Not all are included in CODATA2018)

## Slide 5
He+ spectroscopy for testing QED
Measuring the 1S-2S transition
Determine and contribute to the proton charge radius puzzle
Determine charge radius, which can be compared with m-He measurement
Measuring other transitions in 4He+
QED test more independent from m-He and Hydrogen
Measuring 3He+
Charge radii difference, which can be compared with neutral He spectroscopy
QED theory uncertainty will be a limitation
better than 400kHz (4x10-11)
better than 60 kHz (6x10-12)
better than 40 kHz (4x10-12)

## Slide 6
4He+ Nuclear charge radius
Scattering
I.Sick (2008)
rα = 1.681(4)
m-He spectroscopy
J. Krauth et al. (2021)
rα = 1.67824(13)exp(82)theo
rα uncertainty J. Krauth et al. (2021) | Contribution to He+ 1S-2S uncertainty
QED (r-independent) 0.04 am | 2.9x10-13
2PE 0.70 am | 5.2x10-12 =52 kHz
3PE 0.42 am | 3.1x10-12
1PE 0.06 am | 4.5x10-13
Theory Total: 0.82 am | 6.1x10-12
Experiment (statistics) : 0.13 am | 9.7x10-13 = 9.6 kHz
4x10-12: He+ QED theory uncertainty

## Slide 7
He+ spectroscopy setup: overview
High-power IR
frequency comb
Yb:KYW laser + amplifiers
@1030 nm
300 W Innoslab amplifier
(Fraunhofer ILT)
Trapped He+ ions
Intracavity HHG
17th harmonic
Frequency comb
at 60.8 nm
XUV
comb
HH Spectrum
Frequency
H3
H5
H7 …

## Slide 8: Direct frequency comb spectroscopy
2 x
60.8 nm
1S
2S
Spectroscopy signal: He2+
XUV comb at 60.8 nm

## Slide 9: 61nm Laser system
Yb:KYW frequency comb
1030 nm, 40 MHz
Yb:YAG Innoslab amplifier
280 W, 850 fs
Enhancement resonator
5 kW, <100fs
HHG
XUV frequency comb
Yb:LuAG
Solid state preamplifier
2.5 W
Multi-pass cell spectral broadening
260 W, 50 fs
To He+ trap

## Slide 10
Enhancement Resonator for HHG
Xe gas for HHG
to He+ trap
Mirror with slit

## Slide 11
H9
115nm
H11
H13
H15
H17
61nm
H19
H21
H23
H25
41nm
~30 µW at 60.8 nm (preliminary)
Enhancement Resonator for HHG
~ 0.1 Hz signal rate (ionization)

## Slide 12: Stabilization of frequency comb
fixed point (noise source dependent)
frequency
Cavity stabilized
cw laser
1033nm
Comb w/o
stabilization
frequency
Comb stabilized
to cw reference laser
Noise cancellation by two-photon excitation
= 60.8nm x 17th
(transition frequency)

## Slide 13: Stabilization of frequency comb
double-pulse generation
Yb:KYW
mode-locked
oscillator
Pre-Amplifier
Yb:LuAG
HHG enhancement resonator
nonlinear pulse compression
Yb:YAG Innoslab amplifier
Pre-Amplifier
Yb:LuAG
fast
AOM
slow
AOM
Cavity-stabilized
CW laser (ECDL)
Beat detection
Beat detection
Beat detection
PZT
frequency
comb

## Slide 14: Stabilization of frequency comb
80% of power in carrier at XUV
Less than 20% of signal loss due to phase noise
OFF path length stabilization
ON path length stabilization
Noise at oscillator output
Noise floor

## Slide 15: XUV beam delivery to trapped He+
HHG chamber
Ion trap
XUV focusing mirrors
(R=30% @ 61 nm)
XUV grazing incidence mirror
(R=70% @ 61 nm)
Doppler-free
Anti-collinear excitation
Sympathetically cooled He+
in mixed ion crystal (He+/Be+)

## Slide 16: Be+/He+ ion trap
RF electrodes
3 cm

## Slide 17: Ion crystals and sympathetic cooling
Be+ laser cooled to a few mK
≈15 µm
Be+
He+
He+ sympathetically cooled

## Slide 18
Spectroscopy signal
2 x 60.8 nm
1S
2S
2P
Γ ≈ 2π × 84 Hz
He++
91.1nm

## Slide 19: Spectroscopy signal: Secular excitation detection
Motional resonance :
Trap
Species
PMT
Signal generator:
scan frequency
Signal: fluorescence from Be+ ions

## Slide 20: Single event sensitive detection
H2+
H3+
Testing secular excitation detection
H2+: Same charge-to-mass ratio as He2+

## Slide 21
Achieved:
Generation of 61nm comb
Trapped and cooled He+
Demonstrated sensitive He2+ detection
Testing spectroscopy setup with easier transition
(Two-photon transition at 204 nm with Be+)
Finding He+ 1S-2S signal:
QED predication: ~ 70 kHz
Expected linewidth of signal: ~ 1 kHz
Plans :
Optimization of 61nm comb
(power, spectrum)

## Slide 22
Jorge Moreno
Johannes Weitenberg
Theodor W. Hänsch
Thomas Udem
Fabian Schmid
The He+ team