## Slide 1: Current Status of the ULQ2 Experiment
Yuki Honda
Research Center for Electron Photon Science (ELPH), Tohoku Univ., Japan

## Slide 2: Ultra Low Q2 (ULQ2) experiment
ULQ2 experiment
  Proton radius measurement with electron scattering
  Removing model dependencies as much as possible
characteristics
  Extreme low : .
  Rosenbluth separated . ⇒ Lowest-ever beam energy !!
  Absolute cross section with accuracy.

## Slide 3: Ultra Low Q2 (ULQ2) experiment
Mainz data (2014)
Ee = 180 - 855 MeV
ULQ2 experiment
  Proton radius measurement with electron scattering
  Removing model dependencies as much as possible
characteristics
  Extreme low : .
  Rosenbluth separated . ⇒ Lowest-ever beam energy !!
  Absolute cross section with accuracy.

## Slide 4: Ultra Low Q2 (ULQ2) experiment
Rosenbluth separation
Rosenbluth separation requires frequently change of and
ULQ2 experiment
  Proton radius measurement with electron scattering
  Removing model dependencies as much as possible
characteristics
  Extreme low : .
  Rosenbluth separated . ⇒ Lowest-ever beam energy !!
  Absolute cross section with accuracy.

## Slide 5: Ultra Low Q2 (ULQ2) experiment
ULQ2 experiment
  Proton radius measurement with electron scattering
  Removing model dependencies as much as possible
characteristics
  Extreme low : .
  Rosenbluth separated . ⇒ Lowest-ever beam energy !!
  Absolute cross section with accuracy.

## Slide 6: Ultra Low Q2 (ULQ2) experiment
  p target number
  Beam dose
  Solid angle
Relative measurement to well-known cross section. e+p / e+C scattering → CH2 target
Ratio of p and C
Well known
ULQ2 experiment
  Proton radius measurement with electron scattering
  Removing model dependencies as much as possible
characteristics
  Extreme low : .
  Rosenbluth separated . ⇒ Lowest-ever beam energy !!
  Absolute cross section with accuracy.
measure with LC/MS

## Slide 7: Ultra Low Q2 (ULQ2) experiment
Relative measurement to well-known cross section. e+p / e+C scattering → CH2 target
e+C
e+p
ULQ2 experiment
  Proton radius measurement with electron scattering
  Removing model dependencies as much as possible
characteristics
  Extreme low : .
  Rosenbluth separated . ⇒ Lowest-ever beam energy !!
  Absolute cross section with accuracy.

## Slide 8: Ultra Low Q2 (ULQ2) experiment
To achieve = 1%
  We need more than 9 of Q2 data points with
To achieve
  3 – 16 data points are required for Rosenbluth separation with
    : 1 mm misalignment.
    : 0.8 mm shift at detector
Total 48 data points
  12 h / data point -> total beam time ~ 1 month
Input error

## Slide 9: Research Center for Electron Photon Science (ELPH)
Tokyo
ELPH,
Tohoku Univ.
Japan
350 km

## Slide 10: Research Center for Electron Photon Science (ELPH)
E = 10 – 65 MeV
1.3 GeV BST ring
70 MeV e- Linac

## Slide 11: Spectrometer for low-energy electron
910 mm
1175 mm
Simple structure
  Target chamber
  Dipole magnet
  Focal plane detector
Specialized for low-energy electron
  Windowless
  Tracking less
①
②
③
~3700 kg
Notes: This slide is about a new spectrometer.
Sorry, the color is different but this is the same one.
Our spectrometer has very simple structure, scattering chamber, dipole magnet and focal plane detector.
Electron beam is scattered in chamber by target and incident on the magnet, and bended 90 degree vertically, finally go across the detector.
Size of the dipole is not so large, about 1 m in length, 1 m in height and weight is about four thousand kilo glam.
The spectrometer is specialized for low-energy electron.
First the spectrometer has no window.
It means all of the passages of the electrons are vacuum.
For our low energy electrons, multiple scattering with windows or air will worsen resolutions critically.
Second, the spectrometer does not need tracking to determine a momentum and scattering angle of the electron.
These are determined by only a detecting potion on the detector.
Next slide, I will explain how to realize it.

## Slide 12: Angle changeable target chamber
Target chamber top view
Vacuum seal : O-ring
e-
Notes: To avoid the multiple scattering, all of the electron’s passages are vacuum.
Of course, the scattering chamber and magnet are connected with vacuum duct.
However, we will change the angle of the magnet because we do the Rosenbluth separation.
So, we have developed angle changeable target chamber.

## Slide 13: Spectrometer
910 mm
1175 mm
Pole piece
Focal plane
C
H
Vertical position [mm]
Horizontal position [mm]
Momentum
Scattering angle
radius | 50 cm
bending angle | 90°
 | 0.4 T @ 60 MeV
gap | 70 mm
dispersion | 855 mm
momentum bite | 11 %
 | 5 mrad
solid angle | 10 mSr
radius | 50 cm
bending angle | 90°
 | 0.4 T @ 60 MeV
gap | 70 mm
dispersion | 855 mm
momentum bite | 11 %
 | 5 mrad
solid angle | 10 mSr
Vertical trajectory

## Slide 14: Focal plane detector
Readout boards
“Multi-Slit128A board”
Four ASICs “Slit128A”
(128 ch/chip)
Single-sided silicon detector (SSSD) | 
Active area | 97.28 mm × 97.28 mm
Thickness | 0.32 mm
Strip length | 48.575 mm
Strip pitch | 0.19 mm
No. of strips | 512 ch × 2
J-PARC muon g-2/EDM Test module2

## Slide 15: ULQ2 exp. up to now
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.

## Slide 16: ULQ2 exp. up to now
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.
Apr. 3, 2019

## Slide 17: ULQ2 exp. up to now
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.
Previous status
Requirement : ULQ2 exp.
First beam@ULQ2
Sep. 11th, 2020
Commissioning
  (not max)

## Slide 18: ULQ2 exp. up to now
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.
● : Foreground
● : Background
(Spectrometer magnet off)
e+p
e+C
Scattered e-
SSD
Focal plane detector
e+C, e+p peaks were observed
Measured momentum resolution, optical properties

## Slide 19: ULQ2 exp. up to now
Dec. 2021
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.
2nd spectrometer for luminosity monitor.
Monitor C H ratio during experiment.

## Slide 20: ULQ2 exp. up to now
Add and improve shield
Reduced background greatly, and measured optical properties
Confirmed our spectrometer fulfill experimental requirements.
e+p
e+C
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.
MeV

## Slide 21: ULQ2 exp. up to now
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.

## Slide 22: ULQ2 exp. up to now
The essential experimental equipment have been constructed, and their performances fulfill the experimental requirements.
Mar. 2019 1st spectrometer construction
Sep. 2020 First beam @ ULQ2 beamline
Sep. 2020 ～ 1st spectrometer commissioning
Aug. 2021 2nd spectrometer construction
Nov. 2021 ～ 2nd spectrometer commissioning
Dec. 2021 ～ New rotational vacuum chamber installation and test.

## Slide 23: Future tasks
Detector efficiency study
  We have to know position dependence of the detector efficiency with 10-3 accuracy.
  Scattering events with a continuous momentum distribution more than 10 % are required.
  Study with thick (2mmt) carbon target is ongoing.
Beam energy determination
  Improve the accuracy of the momentum dispersion.
Radiative correction
Electron mass 2 % effect
Coulomb distortion 0.4 % effect
→ For these study, we will try to measure the charge form factor at 2 points in July.
We will start physics run in FY2022.

## Slide 24: Magnetic form factor